{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"sheet1","index":0,"n_rows":3,"n_cols":6,"rows_kept":3,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["2025年柳南区应急管理局“双随机、一公开”随机抽查结果公示"]
["主体名称","统一社会信用代码","检查时间","抽查检查结果","检查单位","检查人"]
["柳州市金绿洲物业服务有限公司","91450204747970507R","2025-08-10","1. 部分室内消火栓箱内未配置水枪；2. 负二层部分疏散指示标志故障；3. 部分室内消火栓被遮挡。","柳南区住房和城乡建设局，柳州市柳南区应急管理局，柳州市柳南区消防救援大队","黄国正，黄艳江；何业樟，何开；侯明涛，涂成岗"]